Symmetrical Components 1

- Introduction

These notes should be read together with Section 12.1 of your text.

When performing steady-state analysis of high voltage transmission systems, we make use of the per-phase equivalent circuit.

Also, when performing symmetrical fault (three-phase fault) analysis of high-voltage transmission systems, we make use of the per-phase equivalent circuit.

But for unsymmetrical faults (single line to ground, two line to ground, and line to line) analysis, the three phases no longer see the same impedance, which violates the basic requirement of per-phase analysis (phases must be balanced).

There is a very elegant approach available for analyzing unsymmetric three-phase circuits. The approach was developed by a man named Charles Fortescue and reported in a famous paper in 1918. It is now called the method of symmetrical components. We will spend a little time studying this method in order to understand how to use it in unsymmetrical fault analysis.

Charles Le Geyt FORTESCUE Professor was born about 1878 in Keewantin, Northwest Territories, Canada. Hudson Bay Factory where the Hayes River enters Hudson Bay He immigrated in 1901 to USA. He appeared in the census on 11 April 1930 in Pittsburgh, USA. Charles died on 4 December 1936 in Pittsburgh, USA. The Charles LeGeyt Fortescue Scholarship was established in 1939 at MIT as a memorial to Charles LeGeyt in recognition of his valuable contributions to the field of electrical engineering

Charles LeGeyt Fortescue, born at York Factory, Manitoba, 1876, son of chief factor of Hudson Bay Company-was the first electrical engineering graduate of Queen's University.

After graduation Fortescue joined Westinghouse Electric and Manufacturing Company at East Pittsburgh and attained universal fame for his contributions to the engineering principles and analysis of power transmission and distribution systems. He is especially noted for development of polyphase systems analysis by the symmetrical components method. He made his way, evenutally, to MIT where he became a very well known and respected professor.

Its fascinating that Cecil Lewis Fortescue born 1881 also became a Professor of Electrical Engineering in London University, in the same period. One wonders if they heard about each other?

Charles Le Geyt FORTESCUE Professor and Louise Cameron WALTER were married about 1905. Louise Cameron WALTER113 was born about 1885 in Pennsylvannia, USA. She was a Sculptor

Charles Le Geyt FORTESCUE Professor and Louise Cameron WALTER had the following children:

Jane Faithful FORTESCUE.

- Symmetrical Components: Motivation

Def: A symmetrical set of phasors have equal magnitude & are 120º out of phase.

Goal: Decompose a set of three unsymmetrical phasors into

- One unsymmetric but equal set of 3

- Two symmetrical sets of 3

Then we can analyze each set individually and use superposition to obtain the composite result.

In what follows, we demonstrate that:

- Step 1: An unsymmetrical set, not summing to 0, can be decomposed into two unsymmetrical sets:

  - an “equal” set and an

  - unsymmetrical set that does sum to 0;

- Step 2: An unsymmetrical set that sums to 0 can be decomposed into two symmetrical sets

Step 1: Consider a set of phasors that do not add to zero (because of different magnitudes or because of angular separation different than 120º or because of both). Assume that they have phase sequence a-b-c.

Add them up, as in Fig. 1, i.e.,

(1)

Fig. 1: Addition of Unsymmetrical Phasors

So we see from (1) that

(2)

Define:

(3)

Then:

(4)

(5)

Define:

(6)

Then:

(7)

Conclusion: We obtain an unsymmetrical set of voltages that sum to 0 by subtracting V0 from each original phasor, where V0 is 1/3 of the resultant phasor, illustrated in Fig. 2.

Fig. 2: Subtracting V0 from unsymmetrical phasors

Step 2: How to decompose VA, VB, and VC into two symmetrical sets?

Can we decompose VA, VB, VC into 2 a-b-c symmetrical sets?

As a test, try to add any 2 a-b-c symmetrical sets and see what you get. See Fig. 3.

Fig. 3: Adding 2 symmetrical a-b-c sets

Note that in adding the 2 phasor sets, we add the two a-phase phasors, the two b-phase phasors, and the two c-phase phasors.

One can observe from Fig. 3 that the resultant phasor set, denoted by the solid lines, are in fact symmetrical!

It is possible to prove mathematically that the sum of any 2 a-b-c symmetrical sets is always another symmetrical set.

Let’s try a different thing. Let’s try to add two symmetrical sets, but let’s have one be a-b-c (called positive sequence) and another be     a-c-b (called negative sequence).

As before, in adding the 2 phasor sets, we add the two a-phase phasors, the two b-phase phasors, and the two c-phase phasors. The result of our efforts in shown in Fig. 4.

Fig. 4: Adding a symmetrical a-b-c set to a symmetrical a-c-b set

The resultant phasor set is unsymmetrical!

We can guarantee that the three phasors in this unsymmetrical phasor set sums to zero, since we obtained it by adding two phasor sets that sum to zero, i.e.,

Va1+Vb1+Vc1=0

Va2+Vb2+Vc2=0

-------------------					(8)

VA+VB+VC=0

Now consider Fig. 4 again. Assume that someone hands you the unsymmetrical set of phasors VA, VB, and VC.

Can you decompose them into the two symmetrical sets?

Can you be assured that two such symmetrical sets exist?

The answer is yes, you can be assured that two such symmetrical sets exist. Fortescue’s paper contains the proof.

I simply argue that the three phasors given in Fig. 4, VA, VB, and VC, are quite general (there is nothing special about them), with the single exception that they sum to zero.

Claim: We can represent ANY unsymmetrical set of 3 phasors that sum to 0 as the sum of 2 constituent symmetrical sets:

- A positive (a-b-c) sequence set and

- A negative (a-c-b) sequence set.

Given this claim, then the following theorem holds.

Theorem: We can represent ANY unsymmetrical set of 3 phasors as the sum of 3 constituent sets, each having 3 phasors:

- A positive (a-b-c) sequence set and

- A negative (a-c-b) sequence set and

- An equal set

These three sets we will call, respectively,

- Positive

- Negative

- zero

sequence components.

The implication of this theorem is that any unsymmetrical set of 3 phasors Va, Vb, Vc can be written in terms of the above sequence components in the following way:

(9)

We can write the equations of (9) in a more compact fashion, but first, we must describe a mathematical operator that is essential.

3.0 The α-operator

To begin on familiar ground, we are all conversant with the operator “j” which is used in complex numbers.

Remember that “j” is actually a vector with a magnitude and an angle:

(10)

In the same way, we are going to define the “α” operator as:

(11)

It is easy to show the following relations:

(12)

(13)

(14)

We also have that:

(15)

as illustrated in Fig. 5.

Fig. 5: Illustration of 1+α

Note that

(16)

Similarly, we may show that:

(17)

(18)

(19)

(20)

(21)

And there are many more relations like this that are sometimes helpful when dealing with symmetrical components. (See the text called “Analysis of faulted power systems” by Paul Anderson, pg. 17.)

4.0 Symmetrical components: the math

We repeat equations (9) below for convenience:

(9)

We can relate the three different quantities having the same superscript.

- Zero sequence quantities: These quantities are all equal, i.e.,

(22)

- Positive sequence quantities: The relation between these quantities can be observed immediately from the phasor diagram and can be expressed using the α-operator.

Fig. 6: Positive sequence components

(23)

- Negative sequence quantities: The relation between these quantities can be observed immediately from the phasor diagram and can be expressed using the α-operator.

Fig. 8: Negative sequence components

(24)

Now let’s use equations (22), (23), and (24) to express the original phasors Va, Vb, Vc in terms of only the a-phase components

,

i.e., we will eliminate the b-phase components

and the c-phase components

This results in

(9)

So we have written the abc quantities (phase quantities) in terms of the 0+- quantities (sequence quantities) of the a-phase. We can write this in matrix form as:

(25)

Defining

(26)

we see that eq. (25) can be written as:

(27)

We may also obtain the 0+- (sequence) quantities from the abc (phase) quantities:

(28)

where

(29)

Equations 22-29 hold for

- Line-to-line voltages

- Line-to-neutral voltages

- Line currents

- Phase currents