## Slide 1
Exam 1
Wed, Sept 28, 2016, 5:10pm-6:25pm
On-campus students take it at this time, this room
Off-campus students:
  You may take it with on-campus students if you like.
  If you do not take it on-campus, then you must have a proctor (should have already done this, but if not, do it immediately – instructions are in the course syllabus posted on the website).
  Your proctor downloads/uploads exam at testing center internet site.
  I will make it available at 4:00pm CT and you have until 12:00 midnight CT on Thursday complete the exam.
  If the above scheduling requirements cause a problem for you, please email me and we can discuss.

## Slide 2
Exam 1 Summary
Introductory material: Industry status, expected growth
  Capacity factor; converting energy to capacity
  The wind energy industry
  Recent trends in energy and their influence on wind energy
Introductory material: Wind energy technology
  HAWT/VAWT, towers, foundations, blades, hub, rotor, nacelle, gearbox, generator, collector cct, atmosphere
Introductory material: Levelized cost of wind energy
  Discount rate; use of engineering economics equations
  Accounting for inflation: real vs. nominal discount rate
  Computing LCOE=(LARR+AOE)/AAEP
  Typical LCOEs; representative splits for LCOE
EMPE: Wind Generators Steady-state basics (fixed speed machine)
Structure
Rotating magnetic field
Slip and speed relations
Per-phase equivalent circuit
Torque calculation
Torque-slip characteristic
Reactive power
Voltage dips
Type 2 machine speed control
Type 2 with pole-changing

## Slide 3
Exam 1 Summary
EMPE: Steady-state analysis of DFIGs
Basic concepts: slip, three operational modes
Per-phase operational model; referring quantities
Power relations; torque expressions
Airgap and slip power
Power balance for different generator modes
Per-unitization
Voltage equations
Phasor diagrams
Wind turbine control levels, with particular emphasis on Level 1
  Dependence of various quantities (Is, λr, λs, Ir, Vr, Pr) on stator voltage, stator reactive power, and torque.
  Im expression as function of Qs to show magnetization source
Additional items (in addition to HW1, HW2, HW3)
Video on laboratory issues by Nick David
NREL paper on control (section II)
In-class example problems

## Slide 4
Exam 1 Summary
Expected form of exam:
Closed notes, closed book
You may have pencil/pen/paper and calculator
Calculator cannot have a communication device on it
Exam will be 50 minutes
  Problems requiring calculations
  Problems requiring insight and understanding
    Short-answer
    True-false
How to prepare?
Review HWs and HW solutions
Review in-class slides
Study “additional items”