## Slide 1
Exam 2
Wednesday, Nov 16, 2016, 5-6:20pm
On-campus students take it at this time, this room
Off-campus students:
  You may take it with on-campus students if you like.
  If you do not take it on-campus, then you must have a proctor. Your proctor must register at
  www.elo.iastate.edu/proctored-testing/proctored-testing-guidelines-for-students/
  Your proctor downloads/uploads exam at www-testing-las.sws.iastate.edu
  I will make it available at 10:30am (CST) and you have until 12:00 noon (CST) to begin the exam. Your should be done with it by 12:50, and your proctor should upload it to the testing center by 1:30pm.
  If the above scheduling requirements cause a problem for you, please email me and we can discuss.

## Slide 2
Exam 2 Summary
EMPE:
Representing RSC with impedance
Equivalent circuit of DFIG
Torque-slip characteristic for DFIG
Efficiency
DFIG for non-unity power factor
Machine transformations
    Space vectors
    α-β transformation
DFIG Machine model
d-q transformation (rotor-circuit and stator circuit)
Process of transforming voltage equations
Torque and power
    In abc quantities
    In qd0 quantities
    Control concepts
    Obtaining the transformation angle
    Function of grid-side converter
    Function of grid-side converter – DC link voltage
Two-level voltage source converter
  6-pulse generation scheme and its harmonic analysis
    Space vector modulation, dwell-time calculation, switching sequence
    Computing space vector from switching sequence

## Slide 3
Exam 2 Summary
GII: Transient frequency performance and wind penetration
  Motivation – EPA rules and once-through cooling units
  Frequency study basics
  Inertial impact (equation); effect on frequency response
  Relation of steam turbine to wind turbine control
  Reasons for impact of wind on frequency performance
  Different perspectives among stakeholders for providing APC
  Reasons for frequency response degradation and potential for wind impact
  Potential impacts of low frequency in the network
  “Nested” protection against low frequency operation
  Effect of system size on transient frequency dip
  Reasons why calculated nadir is lower than simulated
  Additional issues – special influences
  Control modifications for inertial emulation
GII: Primary frequency control
  Solutions to variability
  Variability: temporal, spatial
  Effect of variability of wind on net load
  Use of correlation to measure regulation coincidence
  Generation portfolio design
  Providing wind turbines with primary frequency control

## Slide 4
Exam 2 Summary
GII: Primary frequency control
  *Governor response
  *Providing wind turbines with primary frequency control
  *Significance of wind ramp rates
  *Difference between wind capability to provide PFC-up and PFC-down
GII: Grid operations – regulation
  Temporal variability of wind power
  Spatial variability of wind power
  Effect of variability of wind on net load
  Use of correlation to measure regulation coincidence
  Generation portfolio design
  Control performance measures
* Will not be on this exam.

## Slide 5
Exam 2 Summary
Expected form of exam:
Closed notes, closed book
You may have pencil/pen/paper and calculator
Calculator cannot have a communication device on it
Exam will be 75 minutes
  Problems requiring calculations
  Problems requiring insight and understanding
    Short-answer
    True-false
How to prepare?
Review HWs and HW solutions
Review in-class slides
Study “additional items”