Quiz 9, EE 303, Fall 2017, Dr. McCalley, Closed notes, book, calculator

Name:_________________________________________________________________

A. (50 pts) A single-phase distribution system is modeled using the circuit below.

1. Compute the voltage at the source to hold a voltage of 4kV at the load bus.

2. Compute the voltage regulation for this condition.

Solution:

1.

2. VR=(4116.008-4000)/4116.008=0.0282VR=2.82%.

B. (50 pts) The circuit in problem (A) requires two iterations of the circuit analysis process we learned in class (each iteration is essentially: (i) compute current to the load; (ii) compute current in the line; (iii) compute voltage at the preceding bus). We worked another distribution feeder problem in class; that feeder could be represented by the circuit below. If we applied our standard iterative procedure to the below distribution feeder problem, how many iterations would it require? Give a basic description of each iteration.

Solution:  It would require five iterations:

Iteration 1: Compute I5, computeV4;

Iteration 2: Compute IZ4, compute I4, compute V3;

Iteration 3: Compute IS3, compute I3, compute V2;

Iteration 4: Compute Is2, compute I2, compute V1

Iteration 5: Compute Is1, compute I1, compute Vsrc