CE 523 PHYSICAL-CHEMICAL TREATMENT

A course for the water industry, mainly aimed at potable water treatment and some physical-chemical treatment required in wastewater treatment and reclamation and also in the treatment of residuals from both water and wastewater treatment processes and selected industrial wastewaters.

Instructor:  Professor J (Hans) van Leeuwen, Room 476 Town Engineering

Evaluation:  50% of the points will be based on two exams of 25% each.   Each of the exams will be based on roughly half of the semester’s work and be on an open book basis.  30% of the points will be based on assignments.

Another 20% will be given for a term paper.    Each of the participants will prepare and present a topic related to the general area of water treatment technology - a 15 minute lecture, with one lecture per participant the target for the whole course.   The term paper will be assessed on the written contents (8 pages or more) (15%) and the presentation (5%).  The presentation will be peer evaluated by all participants.

Recommended handbook:  Water Quality & Treatment by the American Water Works Association, 6th Edition, McGraw-Hill, Inc. (2011) ISBN 978-0-07-163011-5 See a description: http://www.amazon.com/gp/product/0071630112/ref=pd_lpo_k2_dp_sr_1?pf_rd_p=486539851&pf_rd_s=lpo-top-stripe-1&pf_rd_t=201&pf_rd_i=0070016593&pf_rd_m=ATVPDKIKX0DER&pf_rd_r=1K1KB6HWQRVA3SB83ESN#reader_0071630112

Syllabus

Module 1   Water quality requirements (Week 1)

Background: Water chemistry, atomic structure, stoichiometry, redox reactions, pH, alkalinity, hardness.  Water biology, classification of organisms.   Measurement of water quality.  (Notes on website)

Drinking water quality criteria (Chapter 1, AWWA)

Health and aesthetic aspects of drinking water (Chapter 2, AWWA)

Chemical principles, source composition and water sheds (Chapter 3, AWWA)

Hydraulic characteristics of reactors (Chapter 4, AWWA)

Overview of water treatment processes (Chapter 5, AWWA)

Removal of organic contaminants.  Typical potable water plants.  Physical chemical treatment in wastewater treatment plants. Fresh water sources, water demand and variability, water pollutants

Notes are available on the course website.  You need to review Chapters 1-4 the AWWA handbook on your own. Chapter 4 will not be covered extensively in this course.  Chapter 5 will be reviewed in class.

Alternative source of information: Droste, R. L. Theory and Practice of Water and Wastewater Treatment (Wiley).

The chemistry in Chapter 1 up to page 26.  Make sure you can handle Questions 1-27.

The chemistry in Chapter 3.  Make sure you can handle all questions at the end.

The analytical techniques in Chapter 5, excluding BOD related.  Non-BOD problems.

The biology in Chapter 6.  Make sure you can handle all questions at the end.

The water quality issues in Chapter 8.  Make sure you can readily refer to quality standards in the text and that you can handle all questions at the end.

Assignment 1: Hand in solutions as will be provided still to Problems 1-11, 1-27, 3-22, 3-26, 5-10, 5-18, 6-17

Note also that some of the questions at the end of Chapter 8, Droste would be good topics for your term paper (opportunities).  I will provide the questions separately as I do not expect that anybody will have the Droste book.

It will be assumed that you have this background in the modules that follow.  Much of this is covered in CE326, which is actually a prerequisite to this course.

Module 2  Gas-Liquid Processes (Week 2)

(Chapter 6, AWWA)

Module 3   Chemical Oxidation (Week 3)

Ozonation – reactions with organic substances, mass transfer, equipment design

Alternative disinfection and oxidation procedures (opportunity)

Notes on website and Chapter 7, AWWA

Module 4   Coagulation and Flocculation (Week 4)

Colloidal suspensions; turbidity and coagulation; chemicals required: aluminum sulfate, ferric chloride, lime, polymers, clay minerals; rapid mixing.

Flocculation – shear gradients, energy requirements, floc rupture, tapered flocculation, Camp no.; flocculation equipment, head loss, examples

Study notes provided  and Chapter 8, AWWA

Alternatively Chapter 11, Droste, screening – study and calculate head loss over screens, settling pp 294 - 319 – Types I, II and III settling, pp 323 - 328  – settler design and grit removal, solve problems 1 - 19

Chapter 13, Droste, mainly to see more examples of equipment.  Should be able to solve problems 1 - 12 and 16 - 17.

Module 5   Screens, Sedimentation and Flotation (Week 5)

Screens – notes on web

Sedimentation – definitions, applications, settling of discrete particles, sedimentation classes; settling tank design, types of settling tanks, examples

Flotation – aims, methodology of gas-solid floc formation, gas introduction (opportunity for term paper)

Chapter 9, AWWA

Be able to do problems 1 - 16 and 21 - 23

Module 6  Filtration (Week 6) Granular bed (sand), precoat and membrane filtration.

Different types of filtration used in water treatment (opportunity for term paper)

Rapid and slow sand filtration – medium characterization, head loss over granular beds, fouling, backwashing, filter sizing and layout, novel filtration designs (opportunity)

Chapter 10, AWWA (Alternatively, Chapter 14, Droste)

Module 7   Membranes (Week 7)

Chapter 11, AWWA

Exam 1

Module 8   Ion exchange and inorganic adsorption (Week 8)

Reverse osmosis, ion exchange, adsorption, membrane technology and redox reactions for removal of pollutants

(Opportunities for term papers)

Notes on web and Chapter 12, AWWA

Module 9   Precipitation, Softening and Stabilization  (Week 9)

Precipitation of dissolved metals

Notes and software on web and Chapter 13, AWWA

Module 10   Adsorption of organics by activated carbon (Week 10)

Module 11   Disinfection (Week 11)

Background: diseases carried in water – review Chapter 7, Droste

Different approaches to disinfection and disinfectant types, disinfection kinetics

Chlorination – reactions with ammonia and organic substances, equipment

Notes on web and Chapter 17 and 18, AWWA.

Module 12   Tertiary treatment, water reclamation and natural treatment (Week 12)

Notes on web, Chapters 15 and 16

(Opportunities)

Module 13   Quality maintenance during distribution  (Week 13)

Notes on web and Chapters 19, 20 and 21, AWWA

Module 14   Water treatment plant residuals management (Week 14)

Notes on web and Chapter 22, AWWA

Class seminar   Presentation of term papers (Week 15)

Exam 2 to be negotiated for timing; no final exam